## Slide 1: Measurement of physical properties

## Slide 2
The sample is forced into the liquid by means of a sinker rod if it is lighter or it is suspended with a string if it is heavier than the liquid. Liquids having a density lower than that of sample should be used if partial floating of the sample is observed. If the sample is forced into the fluid using a sinker rod, it should be taken into account in the measurement as:
For larger objects, a platform scale can be used The sample is completely submerged in liquid such that it does not make contact with the sides or bottom of the beaker. Weight of the liquid displaced by the solid sample is divided by its density. The method is based on the Archimedes principle, which states that a body immersed in a fluid will experience a weight loss in an amount equal to the weight of the fluid it displaces. The upward buoyancy force exerted on a body immersed in a liquid is equal to the weight of the displaced liquid.

## Slide 3
Gas Displacement Method
Volumes of particulate solids and materials with irregular shape can be determined by displacement of gas or air in pycnometer . The most commonly used gases are helium and nitrogen.
Solid Displacement Method
The volume of irregular solids can also be measured by sand, glass bead, or seed displacement method. Rapeseeds are commonly used for determination of volume of baked products such as bread.

## Slide 4: Density : is mass per unit volume of a substance. Because the gram is defined as the mass of 1 cc of water at 4°C,the density of water is 1 g/cc.
DENSITY
Density may be calculated by dividing mass by volume, Density=mass/volume (D=M/V)
The density of liquids can be determined by using a pycnometer. Wide-mouthed bottles can be used for very viscous materials such as tomato paste, batter, or honey.
Liquid density can also be measured by placing a hydrometer in a beaker filled with the liquid sample.
Volume measurement methods can also be used for measuring the density of solids.

## Slide 5: substance chosen as a standard, both substances at the same temperature or the temperature of each being definitely known.
SPECIFIC GRAVITY
Water is used as the standard for the specific gravities of
liquids and solids;
The most useful standard for gases is hydrogen,
although sometimes air is used.

## Slide 6: The specific gravity is defined as the ratio of the mass of that product to the mass of an equal volume of water at 4°C, the temperature at which water density is greatest.
it is defined as the ratio of the density of a given solid or liquid substance to the density of water at a specific temperature and pressure, typically at 4°C (39°F) and 1 atm (760.00 mmHg) , making it demensionless.

## Slide 7
Surface area is required for:
Leaf area is an indicator of photosynthetic capacity and growth rate of a plant and its measurement is of value in studies of plants competition for light and nutrients, plant-soil-water relations, determining application rates of insecticides and fungicides. In crops where the leaf is the major commercial product, leaf area is a good indicator of yield potential. Likewise, surface areas of fruits are important in investigation related to spray coverage, removal of spray residues, respiration rate, light reflectance and color evaluation, and heat transfer studies in heating and cooling processes.
How to measure:
Using planimeter,
  Coating method,
  Peeling method,
By image analysis.
SURFACE AREA:

## Slide 8
The planimeter is a mechanical device for measuring areas in the plane. It has the shape of a ruler with two legs.
The measurement consists of dragging pointer along the boundary of the region. The wheel at pointer measures the motion in the direction orthogonal to the leg. After completing the path along the boundary of the region, the total wheel rotation indicates the area of the region.

## Slide 10
VOLUME AND SURFACE AREA OF SOME COMMON SHAPES
26
Prolate
Oblate