## Slide 1: Industrial Automation

## Slide 2: Industrial Automation
Automation is encompassing virtually every
walk of life.
Automation solutions are required right from
agricultural to space technology.
Plant Automation is the necessity for the
manufacturing industry to survive in today’s
globally competitive market

## Slide 3: What is Automation ?
Automation is basically the delegation of human control
function to technical equipment for
Increasing Productivity
Increasing Quality
Reducing Cost
Increasing Safety in working conditions

## Slide 4: History of Automation
Pneumatic Control
Hard wired logic Control
Electronic Control using Logic Gates
Programmable Logic Controller
Manual Control

## Slide 5: Manual Control
All the actions related to process control are taken by the
operators
Drawbacks
Likely human errors and consequently its effect on quality of final product
The production, safety, energy consumption and usage of raw material are all subject to the correctness and accuracy of human action.

## Slide 6: Pneumatic Control
Industrial automation, with its machine and process control, had its origin in the 1920s with the advent of "Pneumatic Controllers".
Actions were controlled by a simple manipulation of pneumatic valves, which in turn were controlled by relays and switches.
Drawbacks
Bulky and Complex System
Involves lot of rework to implement control logic
Longer project time

## Slide 7: Hard wired logic control
The contactor and Relays together with hardware timers and
counters were used in achieving the desired level of automation
Drawbacks
Bulky panels
Complex wiring
Longer project time
Difficult maintenance and troubleshooting

## Slide 8: Electronic Control using Logic Gates
In 1960s with the advent of electronics, the logic gates started
replacing the relays and auxiliary contactors in the control
circuits.
The hardware timers & counters were replaced by electronic
timers
Advantages
Drawbacks
Reduced space requirements
Energy saving
Less maintenance & greater reliability
Changes in control logic not possible
More project time

## Slide 9: Programmable Logic Controllers
In 1970s with the coming of microprocessors and associated peripheral chips, the whole process of control and automation underwent a radical change.
Instead of achieving the desired control or automation through physical wiring of control devices, in PLC it is achieved through a program or say software.
The programmable controllers have in recent years experienced an unprecedented growth as universal element in Industrial Automation.
It can be effectively used in applications ranging from simple control like replacing small number of relays to complex automation problems

## Slide 10: Advantages of PLCs MOORE’s LAW
Reduced space
Energy saving
Ease of maintenance
Economical
Greater life & reliability
Tremendous flexibility
Shorter project time
Easier storage, archiving and documentation

## Slide 11: Industrial Automation Components …
Field Instruments
Control Hardware
Control Software

## Slide 12
Sensors Placed in the field
Automation : Typical installation . . . .
Junction Box
Field Cabling
Control Panel
Control Hardware
SCADA Software
Communication Cable
Field Cabling

## Slide 13
Smart Transmitters Placed in the field
Automation : Advanced Technology . . . .
Field Bus Scanners
Field Cabling
Control Panel
Control Hardware
SCADA Software
Communication Cable
Field Bus Network

## Slide 14: Sensors ( Field Instruments )
Sensors with transmitters are the field devices placed in the field who actually sense the parameter and send the analog signal to the control hardware.
The analog signals used are Ohm (RTD), mV (Thermocouple), 4-20 mA, +/-10 V, etc

## Slide 15: Widely used Sensors ( Field Instruments )
RTD : Output in Ohms (Temperature)
Thermocouples : Output in mV (Temperature)
Pressure Transmitters : 4-20mA, 0-10 V …..
Flow Transmitter : 4-20mA, 0-10 V …..
Level Transmitter : 4-20mA, 0-10 V …..
Conductivity meter : 4-20mA, 0-10 V …..
Density meter : 4-20mA, 0-10 V …..
pH transmitter : 4-20mA, 0-10 V …..
And Many more

## Slide 16: Leading Manufacturers in Sensors ( Field Instruments )
Fisher Rosemount
Yokogawa
Anderson & Housers
Radix
ToshBro

## Slide 17: Control hardware
Standalone PID Controllers
Programmable logic controllers (PLC)
Distributed Control System

## Slide 18: Standalone PID Controllers
These are the independent small hardware units which caters requirement of closed loop controls in the process.
These hardware can be installed in field or in control room. These hardware can be connected on the network.
Currently the controllers are available with 100s of segment and programming patterns

## Slide 19: Typical Installations using PID Controllers
RS-232
Controllers placed in field
RS-485 Bus

## Slide 20: Leading Manufacturers in PID Controllers
Yokogawa
ABB
Moore
Eurotherm
ASCON
Chino
Bells
Fuji

## Slide 21: Programmable Logic Controllers
Now a days PLCs are the most widely used control hardware in control applications. The applications ranges from standalone system for CNC machines to Hot swappable Redundant System for Critical Process Control

## Slide 22: What Constitutes A PLC ?
The PLC is programmed interface between the field I/p element like limit switches, sensors, push button and the final control elements like actuator, solenoid/control valves, drives, hooters etc
PLC consist of
Input Module
CPU with Processor and Program memory
Output module
Bus System
Power Supply

## Slide 23: Configuration of PLC : Modicon
8 Analog Inputs 1 Analog Output
Up/Down Fast Counter
Up Counter
Programming Terminal PC Connection
Unitelway Port for connection of up to 5 Slaves
PCMCIA memory expansion port
PCMCIA communications port
TSX37-22
Built in display for I/O (in-rack, AS-i) and Diag
I/O Modules

## Slide 24: Configuration of PLC : Siemens
CPU
External Power
Supply
I/O Modules

## Slide 25: Configuration of PLC : Allen Bradley
CPU
Power Supply
I/O Modules

## Slide 26
Distributed I/O Modules
Distributed I/O modules
PLC
Distributed I/O scanner
Data Communication Bus

## Slide 27: Hot Redundant System Configuration
Remote I/O Network
SPLITTERS
FIBER OPTIC LINK
TAPS
Remote I/O

## Slide 28
Networking of PLCs
Supervisory HMI
Modicon : Modbus +, Uniteleway, Ethernet
Allen Bradley : DH+, DH485, Ethernet, Control Net, Devicenet
Siemens : Sinec L1/L2/H1, Profibus

## Slide 29
Programming Languages in PLCs
Ladder Logic ( LAD/LD )
Structured Text ( ST)
Instruction List ( IL )
Sequential Function Chart ( SFC )
Function Block Diagram ( FBD )

## Slide 30: Supervisory Control & Data Acquisition Software
Features of typical SCADA software
Dynamic process graphic
Real-time and Historical trending
Alarms
Recipe Management
Security
Device connectivity
Script for logic development
Database connectivity

## Slide 31: Some of the Leading SCADA Software
Wonderware : InTouch
Intellution : Fix DMACS
Merz : Aspic
Allen Bradley : Rsview
Siemens : WinCC
GE Fanuc : Cimplicity
KPIT : ASTRA

## Slide 32: Role of Engineers In Industrial Automation
Designing of the Automation system
Erection and Commissioning
Maintenance and Troubleshooting of existing system