## Slide 1: Industrial Automation

## Slide 2: Industrial Automation Components …
Field Instruments
Control Hardware
Control Software

## Slide 3
Sensors Placed in the field
Automation : Typical installation . . . .
Junction Box
Field Cabling
Control Panel
Control Hardware
SCADA Software
Communication Cable
Field Cabling

## Slide 4
Smart Transmitters Placed in the field
Automation : Advanced Technology . . . .
Field Bus Scanners
Field Cabling
Control Panel
Control Hardware
SCADA Software
Communication Cable
Field Bus Network

## Slide 5: Sensors ( Field Instruments )
Sensors with transmitters are the field devices placed in the field who actually sense the parameter and send the analog signal to the control hardware.
The analog signals used are Ohm (RTD), mV (Thermocouple), 4-20 mA, +/-10 V, etc

## Slide 6: Widely used Sensors ( Field Instruments )
RTD : Output in Ohms (Temperature)
Thermocouples : Output in mV (Temperature)
Pressure Transmitters : 4-20mA, 0-10 V …..
Flow Transmitter : 4-20mA, 0-10 V …..
Level Transmitter : 4-20mA, 0-10 V …..
Conductivity meter : 4-20mA, 0-10 V …..
Density meter : 4-20mA, 0-10 V …..
pH transmitter : 4-20mA, 0-10 V …..
And Many more

## Slide 7: Leading Manufacturers in Sensors ( Field Instruments )
Fisher Rosemount
Yokogawa
Anderson & Housers
Radix
ToshBro

## Slide 8: Control hardware
Standalone PID Controllers
Programmable logic controllers (PLC)
Distributed Control System