## Slide 1: BACTERIAL STAINING
basic methods
Deepankar ratha,
Assistant Professor,
CUTM, Rayagada
1

## Slide 2: Why we should be Stain Bacteria
Bacteria have nearly the same refractive index as water, therefore, when they are observed under a microscope they are opaque or nearly invisible to the naked eye. Different types of staining methods are used to make the cells and their internal structures more visible under the light microscope.
.
3

## Slide 3: Staining helps in observation of Bacteria
Microscopes are of little use unless the specimens for viewing are prepared properly. Microorganisms must be fixed & stained to increase visibility, accentuate specific morphological features, and preserve them for future use.
4

## Slide 4: Stains and Staining
Bacteria are slightly negatively charged at pH 7.0
▫ Basic dye stains bacteria
▫ Acidic dye stains background
Simple stain
▫ Aqueous or alcohol solution of single basic dye
5

## Slide 5: What is a Stain
A stain is a substance that adheres to a cell, giving the cell color.
The presence of color gives the cells significant contrast so are much more visible.
Different stains have different affinities for different organisms, or different parts of organisms
They are used to differentiate different types of organisms or to view specific parts of organisms
6

## Slide 6: Staining Techniques
Staining is an auxiliary technique used in microscopy to enhance contrast in the microscopic image. Stains and dyes are frequently used in biology and medicine to highlight structures in biological tissues for viewing, often with the aid of different microscopes.
7

## Slide 7: Smearing out of the sample
8

## Slide 8: Fixation
Fixation–which may itself consist of several steps–aims to preserve the shape of the cells or tissue involved as much as possible. Sometimes heat fixation is used to kill, adhere, and alter the specimen so it will accept stains
9

## Slide 9: Simple staining
simplest, the actual staining process may involve immersing the sample (before or after fixation and mounting) in dye solution, followed by rinsing and observation.
The stain can be poured
drop by drop on the slide
10

## Slide 10: Simple staining
Methylene blue, Basic fuchsin
Provide the color contrast but impart the same color to all the organisms in a smear
Loffler's ethylene blue: Sat. solution of M. blue in alcohol - 30mlKoH, 0.01% in water - 100mlDissolve the dye in water, filter. For smear: stain for 3’. For section: stain
11

## Slide 11: Simple staining (cont..)
Dilute Carbol fuchsin:- Made by diluting Z-N stain with 10- 15 times its volume of water- Stain for 20-25 seconds, wash with water
Use: To demonstrate the morphology of Vibrio cholera
Polychrome methylene blue:
Use: M’Fadyean’s reaction - B. anthracis
12

## Slide 12
Simple Stains
13

## Slide 13: Bacterial arrangement
Clusters (group).
Chains.
Pairs (diploids).
No special arrangement.
14

## Slide 14: Simple Staining Easier to Perform But has Limitations
Simple easy to use; single staining agent used; using basic and acid dyes.
Features of dyes: give coloring of microorganisms; bind specifically to various cell structures
15

## Slide 15: Differential Stains
Differential Stains use two or more stains and allow the cells to be categorized into various groups or types.
Both techniques allow the observation of cell morphology, or shape, but differential staining usually provides more information about the characteristics of the cell wall (Thickness).
16

## Slide 16: Gram staining
Named after Hans Christian Gram, differentiates between Gram- positive purple and Gram-negative pink stains and is used to identify certain pathogens.
17

## Slide 17
18

## Slide 18: Gram staining - Principles
Gram staining is used to determine gram status to classify bacteria broadly. It is based on the composition of their cell wall. Gram staining uses crystal violet to stain cell walls, iodine as a mordant, and a fuchsin or safranin counterstain to mark all bacteria. Gram status is important in medicine; the presence or absence of a cell wall will change the bacterium's susceptibility to some antibiotics.
Gram-positive bacteria stain dark blue or violet. Their cell wall is typically rich with peptidoglycan and lacks the secondary membrane and lipopolysaccharide layer found in Gram-negative bacteria
19

## Slide 19: Gram Staining Steps
Crystal violet acts as the primary stain. Crystal violet may also be used as a simple stain because it dyes the cell wall of any bacteria.
Gram’s iodine acts as a mordant (Helps to fix the primary dye to the cell wall).
Decolorizer is used next to remove the primary stain (crystal violet) from Gram Negative bacteria (those with LPS imbedded in their cell walls). Decolorizer is composed of an organic solvent, such as, acetone or ethanol or a combination of both.)
Finally, a counter stain (Safranin), is applied to stain those cells (Gram Negative) that have lost the primary stain as a result of decolorization
20

## Slide 20: Stains differentiates different groups of Bacteria
To distinguish different kinds of bacteria into separate groups based on staining properties
Two types: Gram stain & Acid-fast stain.
21

## Slide 21: Differential Stains:Gram Stain
 | Color of Gram + cells | Color of Gram – cells
Primary stain: Crystal violet | Purple | Purple
Mordant: Iodine | Purple | Purple
Decolorizing agent: Alcohol-acetone | Purple | Colorless
Counterstain: Safranin | Purple | Red
22

## Slide 22: Gram Staining technique
23

## Slide 23: Gram Staining Procedure
24

## Slide 24
Gram Staining technique
25

## Slide 25: Structure and Reactivity to Gram Staining.
26

## Slide 26
27

## Slide 27: Cell structure differentiates Gram positive from Gram Negative
28

## Slide 28: Gm+ve cocci & Gm-ve bacilli
29

## Slide 29: Gram-positive
Gram-positive bacteria are those that are stained dark blue or violet by Gram staining. This is in contrast to Gram-negative bacteria, which cannot retain the crystal violet stain, instead taking up the counter stain (safranin or fuchsine) and appearing red or pink. Gram- positive organisms are able to retain the crystal violet stain because of the high amount of peptidoglycan in the cell wall. Gram-positive cell walls typically lack the outer membrane found in Gram-negative bacteria.
30

## Slide 30: GRAM-POSITIVE BACTERIA
GRAM-POSITIVE BACTERIA are characterized by having as part of their cell wall structure peptidoglycan as well as polysaccharides and/or teichoic acids. The peptidoglycans which are sometimes also called murein are heteropolymers of glycan strands, which are cross-linked through short peptides.
31

## Slide 31: What are Gram Negative Bacteria
Gram-negative bacteria are those bacteria that do not retain crystal violet dye in the Gram staining protocol. In a Gram stain test, a counter
stain (commonly safranin) is added after the crystal violet, coloring all Gram-negative bacteria with a red or pink color. The test itself is useful in classifying two distinct types of bacteria based on the structural differences of their cell walls. On the other
hand, Gram-positive bacteria will retain the crystal violet dye when washed in a decolorizing solution.
32

## Slide 32: Gram negative bacteria
On most Gram-stained preparations, Gram-negative organisms will appear red or pink because they are counterstained. Due to presence of higher lipid content, after alcohol- treatment, the porosity of the cell wall increases, hence the CVI complex (Crystal violet - Iodine) can pass through. Thus, the primary stain is not retained.
33

## Slide 33: Structural Details of Gram –ve Bacteria
34

## Slide 34: Gram Negative Bacteria
Also, in contrast to most Gram-positive bacteria, Gram- negative bacteria have only a few layers of peptidoglycan and a secondary cell membrane made primarily of lipopolysaccharide
35

## Slide 35: Common Questions
1 Principles of Gram Staining and its uses.
2 Name common/pathogenic Gram positive and Gram negative Bacteria
3 Why some bacteria are Gram positive and others Gram negative.
4 Why some bacteria cannot be stained by Gram’s Method of staining.
5 What is the Use of Gram staining in your future clinical practice.
36

## Slide 36: ACID FAST STAINING
37

## Slide 37: Mycobacterium are Acid Fast Bacilli
Mycobacterium are Gram-resistant (waxy cell walls), non-motile, pleomorphic rods, related to the Actinomyces. Most Mycobacteria are found in habitats such as water or soil. However, a few are intracellular pathogens of animals and humans. Mycobacterium tuberculosis, along with M. bovis,
M. africanum, and M. microti all cause the disease known as tuberculosis (TB) and are members of the tuberculosis species complex. Each member of the TB complex is pathogenic, but M. tuberculosis is pathogenic for humans while M. bovis is usually pathogenic for animals.
38

## Slide 38: Acid-Fast Stain
Acid-fast cells contain a large amount of lipids and waxes in their cell walls
▫ primarily mycolic acid
Acid fast bacteria are usually members of the genus Mycobacterium or Nocardia
▫ Therefore, this stain is important to identify Mycobacterium or Nocardia
39

## Slide 39: Ziehl-Neelsen stain
Ziehl-Neelsen staining is used to stain species of Mycobacterium tuberculosis that do not stain with the standard laboratory staining procedures like Gram staining.
The stains used are the red colored Carbol fuchsin that stains the bacteria and a counter stain like Methylene blue or Malachite green.
40

## Slide 40: Acid-Fast Organisms
Primary stain binds cell wall mycolic acids
Intense decolorization does not release primary stain from the cell wall of AFB
Color of AFB-based on primary stain
Counterstain provides contrasting background
41

## Slide 41: AFB Staining Methods
Zeihl Neelsen’s-hot stain
Kinyoun’s-cold stain
Modifications
42

## Slide 42: Ziehl- Neelsen Procedure
Make a smear. Air Dry. Heat Fix.
Flood smear with Carbol Fuchsin stain
▫ Carbol Fuchsin is a lipid soluble, phenolic compound, which is able to penetrate the cell wall
Cover flooded smear with filter paper
Steam for 10 minutes. Add more Carbol Fuchsin stain as needed
Cool slide
Rinse with DI water
Flood slide with acid alcohol (leave 15 seconds). The acid
alcohol contains 3% HCl and 95% ethanol, or you can declorase with 20% H2 S04
▫ The waxy cell wall then prevents the stain from being removed
by the acid alcohol (decolorizer) once it has penetrated the cell
wall. The acid alcohol decolorizer will remove the stain from all other cells.
43

## Slide 43: Ziehl- Neelsen Procedure (continued)
Tilt slide 45 degrees over the sink and add acid alcohol drop wise (drop by drop) until the red color stops streaming from the smear
Rinse with DI water
Add Loeffler’s Methylene Blue stain (counter stain). This stain adds blue color to non-acid fast cells!! Leave Loeffler’s Blue stain on smear for 1 minute
Rinse slide. Blot dry.
Use oil immersion objective to view.
44

## Slide 44
Ziehl-Neelsen stain
4
5
6
7
1
2
3

## Slide 45: How the Acid fast bacteria appear
46

## Slide 46: Fluorochrome AFB Microscopy
More rapid and sensitive Specificity : same with sufficient expérience Equipment cost , bulbs, technical demands
for busy labs External quality assessment should be done if this method is performed
47

## Slide 47: Fluorescence and BrDr.iT.Vg.RaohMD t-field
Microscopy
48

## Slide 48: Fluorochrome AFB Microscopy
Primary fluorochrome
Auramine O
Auramine O-Rhodamine B Acridine Orange
AFB fluoresces Green Yellow/orange Yellow/orange
Note: Color of AFB may vary with filter system
49

## Slide 49: Staining of M.lepra
M.lepra are less acid fast than M.tuberculosis group of organisms,
The concentration of H2So4 is reduced to 5 % for decolorising
50

## Slide 50
ALBERT’S STAINING FOR
C.diptheria
51

## Slide 51: Diphtheria is Serious Disease When you suspect Diphtheria
In all cases of suspected cases of Diphtheria, stain one of the smears with Gram stain
If Gram stained smear shows morphology suggestive of C.diptheria, proceed to do Albert staining which demonstrates the presence or absence of metachromatic granules.
52

## Slide 52: Appearance of C.diptheria
C.diptheria are thin Gram positive bacilli, straight or slightly curved and often enlarged (clubbing) at one or both ends and are arranged at acute angles giving shapes of Chinese letters or V shape which is characteristic of these organisms (Fig 1). Present in the body of the bacillus are numerous metachromatic granules which give the bacillus beaded or barred appearance. These granules are best
demonstrated by Albert’s stain.
53

## Slide 53: Albert staining
Albert stain I
Toluidine blue 0.15 gm
Malachite green 0.20 gm
Glacial acetic acid 1.0 ml
Alcohol(95%) 2.0 ml Distilled water 100 ml
Albert stain II
Iodine 2.0 gm Potassium iodide 3.0 gm Distilled water 300 ml
54

## Slide 54: Albert staining Procedure
Cover the heat-fixed smear with Albert stain I. Let it stand for two minutes.
Wash with water.
Cover the smear with Albert stain
II. Let it stand for two minutes.
Wash with water, blot dry and examine.
55

## Slide 55: How the C.diptheria appear
To demonstrate metachromatic granules in C.diphtheriae. These granules appear bluish black whereas the body of bacilli appear green or bluish green.
•
56

## Slide 56: Flagellar - staining
Flagella are usually invisible under light microscopy, but their identification and anatomy are important in determining some pathogens. Certain chemicals that bind to the flagella are used in the staining process. The flagella color may change or an increase in contrast should make them visible.
57

## Slide 57: Endospore staining
The cell walls of endospores are impermeable to most chemicals, and being in the genera Bacillus and Clostridium, cause diseases such as anthrax, teatanus and gangrene. The staining process involves both a primary stain and a counterstain.
58

## Slide 58: Capsule - Staining
A stain used to reveal negatively charged bacterial capsules. The encapsulated cells will have a halo appearance under the microscope.
59

## Slide 59: Negative staining
India Ink, Nigrosin
Organisms are not stained, only the background is stained
Unstained organisms stand out in contrast
Use: To demonstrate the capsule of Cryptococcus neoformans, Streptococcus pneumoniae
60

## Slide 60
61
Dr.T.V.Rao MD

## Slide 61: Nigrosin used for Negative Staining
The negative stain is particularly useful for determining cell size and arrangement. It can also be used to stain cells that are too delicate to be heat- fixed.
62
Dr.T.V.Rao MD