## Slide 1: DRUG REGISTRATION in Markets Technical Document

## Slide 2
DRUG REGULATION SYSTEM IN INDIA
Drug Controller General of India is the head of Central Drug Standard Control Organization , which regulates Devices & Drugs in India.
TR Challan: Fees of 1500 USD is required for site registration and 1000 USD for registration of each product.

## Slide 3: Drug Controller General of India
Deputy Drug
Controller
[Medical Device]
Deputy Drug
Controller
[Biologicals & Vaccines]
Deputy Drug Controller [Drugs]
Deputy Drug
Controller
[New Drug/GCT
/FDC/P’ovigilance]
Asst Drug Controller Asst Drug Controller Asst Drug Controller Asst Drug Controller
T.O/D.I (5-15)
T.O/D.I (5-15)
T.O/D.I (5-15)
T.O/D.I (5-15)
TDA (0-10)
TDA (0-10)
TDA (0-10)
TDA (0-10)

## Slide 4: FLOW CHART FOR REGISTRATION
Legal Documents
Regulatory documents
Technical Documents
Form 40
POA, DI & DII
PMF DMF Labels/Inserts

## Slide 5: LEGAL DOCUMENTS
Documents To be submitted by Indian agent
Form 40- It should be signed and stamped by Indian agent.
Documents To be submitted by Manufacturer
POA- Power of attorney should be Appostilised or Consularized from Indian embassy of the country of origin, and should be co- jointly signed by both the parties i.e Manufacturer and Indian Agent.
Schedule DI & DII- They should be signed and stamped by Manufacturer (Need not to be notarized)

## Slide 6: REGULATORY DOCUMENTS
Notarized Plant Registration Certificate
Notarized Manufacturing & Marketing License
Notarized Free Sale Certificate
GMP Certificate Notarized
COPP Notarized
Whole Sale License (20B & 21B) of Indian Agent

## Slide 7: Technical Documents
A) Plant master file: Should include the following points.
Sketch of the Plant
Profile of the company
Organogram of the Company
Plant & Machinery
Hygienic & Sanitary measure details
IQPQDQOQ
HAVAC System
MEN MATERIAL MOVEMENT

## Slide 8: B). Device master file: Should include the following points.
Manufacturing process/Flow Chart
Quality Assurance procedures/process controls
Final product testing report
Functionality Test protocol and report
Sterilization process and validation report
Stability data
BA/BE Study Report and Toxicological data

## Slide 9: Post marketing Surveillance- It is the part of Device Master File, should include following points:
Procedures for distribution of records
Complaint handling.
Adverse incident reporting
Procedure for product recall

## Slide 10
C). LABELS AND INSERTS
Product labels should show the address of
Drug Name & Ingredients, Manufacturer,Importers Address, provision for import licence No. Mafg. Date, Expiry Date, Lot No.
Product inserts

## Slide 11
PROCESSING PROCEDURE
After ensuring all documents correctly as per the requirements of FDA, they are submitted. It generally takes about 2-3 months to scrutinize these documents by Technical Data Associates/Drug inspectors of CDSCO and during this period clarification if any, required by them are answered and thereafter we get the Registration Certificate (RC) in Form 41.

## Slide 12: IMPORT PROCESSING After getting the registration certificate from CDSCO, the Indian agent is now import the products from the manufacturer. Following documents are further required to get Form 10 (Import license).
Form 8
TR Challan- (Rs 1000 for Ist product then Rs 100 for each
additional product)
Form 9
Copy of Wholesale License (Indian agent)-Notarized
Copy of Registration Certificate-Notarized

## Slide 13: TIME LINE FOR IMPORT LICENSE The Importer (Indian agent) is not authorized to import the products from foreign manufacturer unless he obtains Import license (Form 10) form CDSCO.
It generally takes about one month to scrutinize these documents by Technical Data Associates/Drug inspectors of CDSCO and during this period clarification if any, are required by them are answered and thereafter the importer gets the Import license.
For Import license application TR Challan of Rs 1000 for Ist product then Rs 100 for each additional product is required.